- Component 6/Unit 7 - Self-Assessment Key

- True or False. A process associated with the use of imaging systems in healthcare is the interpretation of the images.

Answer:  True

Objective/Reference:  This question assesses Unit Objective 1 and is covered in the lecture (comp6_unit7_lecture_slides.ppt), slide 7.

2.	Image modalities differ in their storage requirements, depending on

a. 	The contrast and spatial resolution needed

b. 	The number of integrations with other systems

c.	Whether data expansion techniques are used

d.	Both a and b

Answer:  a

Objective/Reference:  This question assesses Unit Objective 1 and is covered in the lecture (comp6_unit7_lecture_slides.ppt), slide 10.

3. 	True or False. The technological factors associated with digital displays are the same for the radiologist and the referring clinicians.

Answer:  False

Objective/Reference:  This question assesses Unit Objective 2 and is covered in the lecture (comp6_unit7_lecture_slides.ppt), slide 12.

4. 	A physician is reviewing digital images from a patient’s CT scan at her home office. What systems had to be integrated for this to occur?

a. 	Information Technology System and Picture Archiving and Communication System

b. 	Radiology information system and Electronic Documentation System

c. 	Picture Archiving and Communication System and Radiology Information Systems

d. 	Electronic Documentation System and Picture Archiving and Communication System

Answer:  c

Objective/Reference:  This question assesses Unit Objective 3 and is covered in the lecture (comp6_unit7_lecture_slides.ppt), slide 14.

5.	Which of the following is not a factor in the future direction of imaging systems?

a. 	Advances in medical imaging technology

b. 	Development of exchange standards

c. 	Changes in health IT regulations

d. 	Vendor certification of imaging systems

Answer:  d

Objective/Reference:  This question assesses Unit Objective 4 and is covered in the lecture (comp6_unit7_lecture_slides.ppt), slide 16.